## 1-Page Financial Summary
Financial Analysis of Efficiency Improvements
Simulating Streams of Cash Inflows and Outflows
SAMPLE ANALYSIS
Discount Rate: | 10%
Finance Rate: | 10%
Reinvestment Rate: | 10%
Inflation Rate | 3%
| Today | End of YR 1 | End of YR 2 | End of YR 3 | End of YR 4 | End of YR 5 | End of YR 6 | End of YR 7 | End of YR 8 | End of YR 9 | End of YR 10
Date: | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
CASH OUTFLOWS (after Date 0 rebates)
Single investment | -48189
Phased investment
Financed investment
Subtotal | -48189 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Rebate/incentive rec'd at Date 0 1 | 12195
SUBTOTAL OUTFLOWS | -35994 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CASH INFLOWS
Energy savings |  | 29270 | 30148.1 | 31052.543 | 31984.1193 | 32943.6429 | 33931.9522 | 34949.9107 | 35998.408 | 37078.3603 | 38190.7111
Maintenance savings |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Rebates/incentives considered "cash inflow" 1
SUBTOTAL INFLOWS | 0 | 29270 | 30148.1 | 31052.543 | 31984.1193 | 32943.6429 | 33931.9522 | 34949.9107 | 35998.408 | 37078.3603 | 38190.7111
Annual Cash Flow | -35994 | 29270 | 30148.1 | 31052.543 | 31984.1193 | 32943.6429 | 33931.9522 | 34949.9107 | 35998.408 | 37078.3603 | 38190.7111
PV of Outflows (for SIR calculation) | -35994 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PV of Inflows (for SIR calculation) | 0 | 26609.0909 | 24915.7851 | 23330.2352 | 21845.5838 | 20455.4103 | 19153.7024 | 17934.8304 | 16793.523 | 15724.8443 | 14724.1724
Cumulative Cash Flows | -35994 | -6724 | 23424.1 | 54476.643 | 86460.7623 | 119404.4052 | 153336.3573 | 188286.268 | 224284.6761 | 261363.0364 | 299553.7474
Annual Present Value | -35994 | 26609.0909 | 24915.7851 | 23330.2352 | 21845.5838 | 20455.4103 | 19153.7024 | 17934.8304 | 16793.523 | 15724.8443 | 14724.1724
Cumulative Present Value | -35994 | -9384.9091 | 15530.876 | 38861.1112 | 60706.695 | 81162.1053 | 100315.8077 | 118250.6381 | 135044.1612 | 150769.0055 | 165493.1778
NOTE THAT CERTAIN RETURNS VARY DEPENDING ON THE LENGTH OF THE ANALYSIS TERM
| 10-YEAR | 1-YEAR | 2-YEAR | 3-YEAR | 4-YEAR | 5-YEAR | 6-YEAR | 7-YEAR | 8-YEAR | 9-YEAR | 10-YEAR
NPV | 165493.1778 | -9384.9091 | 15530.876 | 38861.1112 | 60706.695 | 81162.1053 | 100315.8077 | 118250.6381 | 135044.1612 | 150769.0055 | 165493.1778
SPP | 1.2297
ROI | 81.32%
IRR | 84.07% | -18.68% | 40.8% | 64.27% | 74.43% | 79.22% | 81.61% | 82.86% | 83.52% | 83.88% | 84.07%
MIRR | 30.68% | -18.68% | 31.61% | 40.41% | 40.83% | 39.28% | 37.33% | 35.42% | 33.66% | 32.08% | 30.68%
SIR | 5.5978 | 0.73926 | 1.4315 | 2.0797 | 2.6866 | 3.2549 | 3.787 | 4.2853 | 4.7519 | 5.1887 | 5.5978
NOTE 1: SIR calc removes any rebate/incentive received at Date 0 from first cost prior to calculating SIR.
10-year Cash Flow
Cumulative 10-year Cash Flow
10-year Present Value
Cumulative 10-year Present Value

## Popular vs Proper Metrics
Financial Analysis of Efficiency Improvements
© 2012 Mark Jewell. All rights reserved.
mjewell@eefg.com
COMPARING 2 STREAMS OF CASH INFLOWS AND OUTFLOWS OVER TIME
CASH FLOW SCENARIO A
Discount Rate: | 10%
Finance Rate: | 10%
Reinvestment Rate: | 10%
| Today | End of Year 1 | End of Year 2 | End of Year 3 | End of Year 4 | End of Year 5 | End of Year 6 | End of Year 7 | End of Year 8 | End of Year 9 | End of Year 10
"Date ____" | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Cash outflows | -300
Cash inflows |  | 150 | 150 | 150 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Subtotals | -300 | 150 | 150 | 150 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PV | -300 | 136.3636 | 123.9669 | 112.6972 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NPV | 73.0278 | NOTE: THESE ARE 10-YEAR RETURNS (adjust range of inputs if fewer years are desired)
SPP | 2
ROI | 50%
IRR | 23.38% | NOTE: THESE ARE 10-YEAR RETURNS (adjust range of inputs if fewer years are desired)
MIRR | 12.42% | NOTE: THESE ARE 10-YEAR RETURNS (adjust range of inputs if fewer years are desired)
SIR | 1.2434
CASH FLOW SCENARIO B
Discount Rate: | 10% | <<<uses same discount rate as listed above in yellow shaded box
Finance Rate: | 10% | <<<uses same discount rate as listed above in yellow shaded box
Reinvestment Rate: | 10% | <<<uses same discount rate as listed above in yellow shaded box
| Today | End of Year 1 | End of Year 2 | End of Year 3 | End of Year 4 | End of Year 5 | End of Year 6 | End of Year 7 | End of Year 8 | End of Year 9 | End of Year 10
"Date ____" | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Cash outflows | -300
Cash inflows |  | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75
Subtotals | -300 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75
PV | -300 | 68.1818 | 61.9835 | 56.3486 | 51.226 | 46.5691 | 42.3355 | 38.4869 | 34.9881 | 31.8073 | 28.9157
NPV | 160.8425 | NOTE: THESE ARE 10-YEAR RETURNS (adjust range of inputs if fewer years are desired)
SPP | 4
ROI | 25%
IRR | 21.41% | NOTE: THESE ARE 10-YEAR RETURNS (adjust range of inputs if fewer years are desired)
MIRR | 14.82% | NOTE: THESE ARE 10-YEAR RETURNS (adjust range of inputs if fewer years are desired)
SIR | 1.5361